Exercise 13

Estimation of phosphorus

Principle

Phosphorus present in the ash solution is precipitated as yellow precipitate of phospho–ammmonium-molybdate by adding ammonium molybdate solution and concentrate HNO3.  The precipitate is washed till free from acid and dissolved in a known excess of std. N/10 NaOH. The excess alkali is back titrated against N/10 HCl/H2SO4 to arrive at the exact quantity of std. N/10 NaOH.

1 ml of N/10 NaOH = 0.1347 mg of P

Apparatus required

- 250 ml beaker with a glass rod

- Pipette (5, 10, 25, 50ml)

- Burette with stand

- Funnel with stand

- Conical flask

- Measuring cylinder

- Whatman filter paper 40 and 42

Reagents

- Saturated ammonium molybdate solution

- Conc. HNO3

- 2% HNO3

- 3% KNO3

- N/10 NaOH

- N/10 H2SO4/HCl

- Phenolphthalein indicator

Procedure

- Pipette out 25 ml of aliquot in a beaker of 250 ml from stock solution of acid soluble ash.

- Add 10 ml conc. HNO3 in a test tube and 10 ml of freshly prepared saturated ammonium molybdate solution into another test tube and add them simultaneously into the beaker in a common stream and stir the contents with glass rod.

- At this stage yellow precipitate of phospho ammonium molybdate begins to appear. Kept the beaker over night to allow the precipitate to settle down.

- Filter the supernatant to the whatsman filter paper No 42, then wash the ppt 2-3 times with 2% HNO3 and several times with 3% KNO3 solution until the ppt become acid free.

Note:

  - The ammonium phosphomolybdate precipitate is sparingly soluble in water and hence should be washed with 2% HNO3 and then with 3% KNO3 solution, but not with water.

  - To check whether the precipitate is free from acid collect half test tube full of the filtrate, add a drop of phenolphthalein and 2 or 3 drops of N/10 NaOH. Pink colour persisting shows absence of acid.

- Transfer the filter paper with precipitate to the same beaker. Add a little distilled water, stir and smash the filter paper. Then add about 10 to 20 ml distilled water.

- Add from burette std. N/10 NaOH till all the precipitate dissolves. Add two drops of Phenolphthalein indicator to the beaker. Add 10 ml of the standard alkali in excess and note final volume.

- Back titrate the solution with std. N/10 HCl or H2SO4 till the pink colour disappear to arrive at the actual quantity of N/10 NaOH required in the experiment.

Calculation

ml of 0.1 N NaOH used  X  0.0001347 X10 X 100

P % = ----------------------------------------------------------------

g of sample taken for ashing

Here

- 1000 ml of 1N NaOH = 1.347 g of phosphorus

- 1 ml of 0.1N NaOH = 0.0001347 g of phosphorus

- 10 = dilution factor  (250/25)

- ml of N/10 NaOH used = (ml of N/10 NaOH taken to dissolve the ppt) – (titrated volume)

Exercise question

- List out few ingredients that are rich sources of phosphorus.

- 5 g of a concentrate feed was ashed and ash solution was made upto 100 ml. 10 ml of this solution was precipitated as ammonium phosphomolybdate. The precipitate was dissolved in 60 ml N/10 NaOH. If the volume of N/10 HCl required for back titration was 10 ml, calculate the phosphorus content of the sample.

Exercise 14

Detergent Method of Forage Analysis

Introduction-

P.J. Van Soest in 1963 developed a method which makes use of the concept that the dry matter of plant origin consists of two principal parts:

1. Cell wall

2. Cell contents

The method is efficient to take care of the defects in the principle of estimating crude fibre and NFE by proximate analysis. Van Soest has partitioned the carbohydrates into various fractions by a system of analysis using detergents. Cell contents are soluble in neutral detergent, where as cell wall (fibre) is insoluble in neutral but it is soluble in acid detergent.

Estimation of Neutral detergent fibre

Principle

This method divides the dry matter of feed very near the point that separates the nutritionally available (98%) and soluble constituents from those that are incompletely available and dependent on a microbial fermentation. The cell contents are determined as the difference between the percent cell wall and 100 percent.

Apparatus required

- Refluxing apparatus with 6 heating condenser.

- Filtering device / Vaccum pump.

- Gooch crucible coarse ( capacity- 50 ml, Grade I)

- Berzelius beaker without spout (1000 ml)

- Electronic balance

- Hot plate

- Wash bottle

- Hot air oven

Reagents

- Neutral detergent solution

Composition

- Distilled water = 1 liter

- Sodium lauryl sulphate = 30 g

- EDTA salt = 18.61 g

- Sodium borate dehydrate (Borax) = 6.81 g

- Disodium hydrogen phosphate anhydrous = 4.56 g

- 2 Ethoxy ethanol =10 ml

- Acetone

- Amylase

Procedure

- Weigh 0.5 g air dried sample (ground to pass through a 1mm sieve) into 1 litre capacity berzelius beaker (spout less).

- Add 100 ml NDS. Place beaker on refluxing unit and start the heater.

- Reflux for 60 min from onset of boiling, place weighed gooch crucible on the filtering device and rinse with hot distilled water under vaccum, remove vaccum, break up mat and wash crucible with hot water.

- If the smooth filtration doesn’t occur, add 1-2 ml amylase enzyme solution to crucible and add 30 ml boiling H2O.

- Allow to stand the whole mixture for 5-10 min.

- Dry the crucible in hot air oven at 100°C for 8 h or overnight and weigh.

Observation

- Weight of sample =W1 g

- Weight of crucible =W2 g (empty)

- Weight of crucible +fibre = W3 g

(W3-W2)

% Cell wall constituents (NDF) =        ----------------- X 100

W1

% Cell contents = 100 - % NDF or cell wall constituents

Estimation of Acid detergent fibre (ADF)

Principle

The acid-detergent fibre procedure provides a rapid method for lignocelluloses determination in feed stuffs. The residue also includes silica. The difference between cell walls and ADF is an estimate of hemicelluloses, however, this difference does include some protein attached to cell walls.

Apparatus

- Refluxing apparatus with 6 heating unit condenser

- Filtering device/ Vacuum system

- Gooch crucible with course porosity (50 ml)

- Berzelius beaker without spout (1000 ml)

- Electronic balance

- Hot plate

- Wash bottle

- Hot air oven

Reagent

- Acid detergent solution

Composition= 1N H2SO4 (1lit.) + cetyl trimethylammonium bromide (20g) (Add 20 g of CTAB to 1 N H2SO4 and make the volume to one litre)

- Acetone

Procedure

- Weigh 0.5 g air dried sample (grind to pass through 1mm screen) and place into a Berzelius beaker.

- Add 100 ml acid detergent solution to beaker.

- Place the beaker on reflux condensing heating unit & start heating and reflux for 60 min from the onset of boiling

- After 60 min of boiling switch off the heater and take out the beaker.

- Place weighed gooch crucible on the filtering device and drain with hot water.

- Filter the content of beaker through gooch crucible using vacuum system.

- Wash residues twice with hot water and rinse the inner side of crucible with hot water same day.

- Wash the residue with acetone repeatedly until filter liquid is colourless.

- Remove crucible from filtering device and place in air for 15 min so that acetone may escape then place it in oven for overnight at 100+5oC for drying.

- After drying cool the crucible in the desiccator to room temp. and weighed to constant weight.

Observation

- Weight of dried sample = W1 g

- Weight of empty crucible = W2 g

- Weight of crucible+ residue after drying = W3g

Calculation

(W3-W2)

% ADF=        -------------------------X 100

W1

Exercise 15

Qualitative determination of undesirable constituents and common adulterants of feed

The raw ingredients may contain some undesirable constituents or adulterants. This will have an influence on the nutritive value of the feed or may cause harm to the animal. The adulterants present in the feed can be widely grouped as:

    - Accidental present adulterants

Most of the feed ingredients for livestock are agricultural or allied products / by-products. During the course of their processing many unwanted materials such as husk, cobs, hulls, stones, mud, pebbles, sand and weed seeds can get accidentally incorporated. These are called as accidental adulterants.

    - Intentional added adulterants

These are added as a fraudulent practice in order to make more profit. The wholesale dealers/ retailers may intentionally add husk, cobs, hulls, stones, mud, pebbles, sand, weed seeds and also some chemical substances like urea to increase the weight or nutritive value by default.

Methods for determination of common adulterants of feed

Test for Urea

Reagents

- Urease solution – Dissolve 0.2g of urease powder in 50 ml of distilled water.

- Standard urea solution (0, 1, 2…….5%)

- Cresol red indicator (0.1%)

Procedure

- Weigh 10g of test sample and add 100ml of distilled water. Stir and filter with Whatman filter paper  No.42

- Pippette 2 ml of standard solution and test sample into white porcelain spot plates.

- Add 2-3 drops of cresol red indicator and add 2-3 drops of urease solution.

- Let it stand for 3-5 minutes, if urea is present, it will form a deep red-purple spreading like a spider’s web appearance, in contrast to the yellow colour of the indicator.

- Compare the test sample with the standard urea sample. This test should be read within 10-12 minutes.

Test for Salt (Sodium chloride)

Reagents

- Silver nitrate solution (5%)

- Nitric acid solution (1:2)

- Ammonium hydroxide solution (1:1)

- Standard Sodium chloride solution (0, 0.1, 0.2, 0.3 %)

Procedure

- Weigh 1g of sample and add 100 ml of distilled water. Stir and filter with Whatsman filter paper No.42.

- Pipette 1 ml of standard solution and 8 ml of nitric acid solution. Stir and add 1 ml of silver nitrate solution.

- Stir and compare the test sample with the standard sample. This test should be read within 5 minutes.

Positive Results

- Salt gives a white turbidity

Test for Hoof or horn

Reagents

- Glacial acetic acid (1:1)

Procedure

- For quick test, place 2-3 particles of amber colour test sample into an evaporating dish.

- Add 5 ml of glacial acetic acid into the evaporating dish and let it stand for 60 minutes.

- If hoof and horn are present, the test particles will still remain hard and tough. Gelatin will be become soft and swollen.