BIOCHEMISTRY INSTRUMENTS & GLASSWARES FOR SPOTTING

INSRUMENTS                     USES

- Microscope        -used to magnify small objects.

- Biochemical Analyser  - to perform various tests like albumin tests, sugar level tests, creatinine etc, in the blood.

Digital pH meter - Used to measure hydrogen ion activity in solutions .

- Hot water bath-  Used to incubate samples at a constant temperature over a long period of time.

- Incubator – Used for providing temperature-controlled environment to support growth of microbiological cultures.

6.Colorimeter-   used to measure the absorption of wavelengths of light by a sample at a given frequency (colour).

- Test tube holder- for holding test tubes.

8.Folin wu tube- used to measure glucose.

- Electronic weighing balance- for measuring quantity of sample / materials.

10.Centifuge machine-Used to separate fluids, gases, or liquids based on density.

- Reagent bottle - used to store chemicals in liquid or powder form.

- Beaker- to hold liquid or solid samples.

- Conical flask - used to hold and measure chemical liquid samples.

- Tong -  used for grasping during various medical procedures.

- Vortex mixture - mixing laboratory samples in test tubes, well plates, or flasks.

- Micro centrifuge machine- used for spinning a variety of samples at high speed.

- Magnetic stirrer with hot plate-   to conduct biological and chemical experiments by mixing two components.

- Titration Assembly     -  quantitative chemical analysis to determine the concentration of an identified analyte (a substance to be analyzed).

- Distillation process -  used to isolate and purify liquids on the basis of their volatilities characterized by boiling point differences.

- EDTA Vial -   to prevent blood samples from clotting and to remove calcium and lead from the body.

- Non EDTA / Serum vial –for obtaining serum samples.

- Microtips in Tip box -  used for handling fluids in small amounts.

- Micropipettes  -  used to accurately and precisely transfer volumes of liquid in the microliter range.

- Micro centrifuge tubes  - storing liquid samples in small amounts.

- Spatula -  used to mix, spread and lift material including foods, drugs, plaster and paints.

- Measuring cylinder. Used to measure the amount of fluid required for analysis.

- Glass funnel -  used to guard against spillage when pouring chemicals from one vessel to another.